## EDIR Estimate
Project Hibiscus - EDIR (Economic Development Incentive Ryder)
Prepared by Holland Board of Public Works, 8/1/2022
Year 1 | Demand (kW) | Demand Charge | EDIR% | Credit to Apply
1 | 16000 | 168800 | 17% | 28696
2 | 16000 | 168800 | 17% | 28696
3 | 16000 | 168800 | 17% | 28696
4 | 16000 | 168800 | 17% | 28696
5 | 16000 | 168800 | 17% | 28696
6 | 16000 | 168800 | 17% | 28696
7 | 16000 | 168800 | 17% | 28696
8 | 16000 | 168800 | 17% | 28696
9 | 16000 | 168800 | 17% | 28696
10 | 16000 | 168800 | 17% | 28696
11 | 16000 | 168800 | 17% | 28696
12 | 16000 | 168800 | 17% | 28696
344352
Year 2
1 | 16000 | 168800 | 11.5% | 19412
2 | 16000 | 168800 | 11.5% | 19412
3 | 16000 | 168800 | 11.5% | 19412
4 | 16000 | 168800 | 11.5% | 19412
5 | 16000 | 168800 | 11.5% | 19412
6 | 16000 | 168800 | 11.5% | 19412
7 | 16000 | 168800 | 11.5% | 19412
8 | 16000 | 168800 | 11.5% | 19412
9 | 16000 | 168800 | 11.5% | 19412
10 | 16000 | 168800 | 11.5% | 19412
11 | 16000 | 168800 | 11.5% | 19412
12 | 16000 | 168800 | 11.5% | 19412
232944
Year 3
1 | 16000 | 168800 | 5.5% | 9284
2 | 16000 | 168800 | 5.5% | 9284
3 | 16000 | 168800 | 5.5% | 9284
4 | 16000 | 168800 | 5.5% | 9284
5 | 16000 | 168800 | 5.5% | 9284
6 | 16000 | 168800 | 5.5% | 9284
7 | 16000 | 168800 | 5.5% | 9284
8 | 16000 | 168800 | 5.5% | 9284
9 | 16000 | 168800 | 5.5% | 9284
10 | 16000 | 168800 | 5.5% | 9284
11 | 16000 | 168800 | 5.5% | 9284
12 | 16000 | 168800 | 5.5% | 9284
111408
Grand Total of Credits |  |  |  | 688704

## Estimated Billing
Project Hisbiscus - Monthly Usage Estimates prepared by Holland BPW
Usage Assumptions |  |  |  |  | Please note the following:
16000 | estimated monthly kW |  |  |  | On-Peak timeframe is 10 am to 6 pm, Monday through Friday (excluding holidays)
122880000 | estimated annual kWh |  |  |  | Estimates based on new usage (not added to existing metering)
10240000 | average monthly kWh |  |  |  | Scenario 1a & 2a based on the first year of EDIR
13000 | on-peak kW example
Scenario 1 - HBPW Owned Transformer/Secondary Metered no EDIR | [5 empty] | Scenario 2 - Customer Owned Transformer/Primary Metered no EDIR
|  | Highest kW On-Peak |  | Highest kW Off-Peak |  |  | Highest kW On-Peak |  | Highest kW Off-Peak
Energy Charge |  | 365112 |  | 365112 |  | Energy Charge | 365112 |  | 365112
Delivery Charge |  | 56000 |  | 56000 |  | Primary Metering Discount | -10953.36 |  | -10953.36
Capacity Charge |  | 176000 |  | 143000 |  | Delivery Charge | 56000 |  | 56000
Readiness to Serve |  | 210 |  | 210 |  | Capacity Charge | 176000 |  | 143000
Tax |  | 35839.32 |  | 33859.32 |  | Transformer Ownership Discount | -7200 |  | -7200
Total |  | 633161.32 |  | 598181.32 |  | Readiness to Serve | 210 |  | 210
[6 empty] | Tax | 34750.1184 |  | 32770.1184
Blended Cost per kWh |  |  | 0.061832 | 0.058416 |  | Total | 613918.7584 |  | 578938.7584
[6 empty] | Blended Cost per kWh |  | 0.059953 | 0.056537
Scenario 1a - HBPW Owned Transformer/Secondary Metered w/EDIR | [5 empty] | Scenario 2a - Customer Owned Transformer/Primary Metered w/EDIR
|  | Highest kW On-Peak |  | Highest kW Off-Peak |  |  | Highest kW On-Peak |  | Highest kW Off-Peak
Estimated EDIR Discount |  | -28696 |  | -28696 |  | Estimated EDIR Discount | -28696 |  | -28696
Energy Charge |  | 365112 |  | 365112 |  | Energy Charge | 365112 |  | 365112
Delivery Charge |  | 56000 |  | 56000 |  | Primary Metering Discount | -10953.36 |  | -10953.36
Capacity Charge |  | 176000 |  | 143000 |  | Delivery Charge | 56000 |  | 56000
Readiness to Serve |  | 210 |  | 210 |  | Capacity Charge | 176000 |  | 143000
Tax |  | 34117.56 |  | 32137.56 |  | Transformer Ownership Discount | -7200 |  | -7200
Total |  | 602743.56 |  | 567763.56 |  | Readiness to Serve | 210 |  | 210
[6 empty] | Tax | 33028.3584 |  | 31048.3584
Blended Cost per kWh |  |  | 0.058862 | 0.055446 |  | Total | 583500.9984 |  | 548520.9984
[6 empty] | Blended Cost per kWh |  | 0.056983 | 0.053567
Note on C13: El-Cassabgui, Alison: Indicative of Max Demand occurring during On-Peak Hours
Note on I14: El-Cassabgui, Alison: Indicative of Max Demand occurring during On-Peak Hours
Note on C27: El-Cassabgui, Alison: Indicative of Max Demand occurring during On-Peak Hours
Note on I28: El-Cassabgui, Alison: Indicative of Max Demand occurring during On-Peak Hours